Is it a bird, is it a plane - no it’s a Nokia Radio Frequency Module?

…a ‘lucky’ escape in Tanzania

A two-man team were carrying out repairs to a 45m tower.

One of the engineers climbed the tower, whilst carrying a replacement RF module, which weighed about 25kg.

As he was trying to install the module, it slipped from his grasp and fell to the ground…

… landing just 1m away from his colleague on the ground - a lucky escape!

What did we learn?

- The method of lifting the equipment was not appropriate - it should have been connected to the structure.

- The person on the ground only escaped injury due to luck - if he had been standing in a slightly different place, he would not have gone home safely at the end of the day.

Always make sure that nobody enters the space below when 
you are working at height.