Tragedy through trying to do the right thing in the Kingdom of Saudi Arabia

Doing work, you are not trained to do…

A two-man team attended an electrical fault. They suspected it was caused by a lack of power to the site.

They investigated by accessing the distribution panel on the transformer located nearby.

They were not trained or authorised to do so. For reasons unknown there was a significant electrical arc and fire.

The engineer received burns on 70% of his body - tragically, he died of his injuries later 
in hospital.

What did we learn?

- Engineer did not do anything intentionally negligent.

- He did not use any tools or interfere with the connections.

- He was trying to do the right thing and bring the site back up.

- The power level and type of installation is not something that an engineer working for Nokia would work on.

- It requires specialist engineers, supplied by power companies.

- The engineer was not aware of the risk posed by the equipment.

- He would not have been trained on this.

Had he simply followed our Life Saving Rules and refused to do the work, as he wasn’t trained… he would have gone home at the end of the day.

Do not work live. Do not work on any electrical 
system unless you are trained.